VENDORS WHO DO NOT WISH TO RESPOND TO A BID ARE NOT REQUIRED TO DO SO. HOWEVER, VENDORS NOT RESPONDING AND/OR SUBMITTING A “NO BID” RESPONSE TO THREE CONSECUTIVE BID INVITATIONS FOR THE REQUESTED COMMODITY MAY BE REMOVED FROM THE UNIVERSITY’S BIDDERS LIST.

Please Print or Type

| Company Name: |  |  | Phone: |  |
| --- | --- | --- | --- | --- |
| Address: |  |  |  |  |
|  |  |  | Fax: |  |
| City: |  |  | EMail: |  |
| State: |  |  | Web Site: |  |
| Zip Code: |  |  | Tax ID or SSN: |  |

THIS OFFICIAL BID SHEET MUST BE SIGNED AND RECEIVED IN A SEALED ENVELOPE WITH VENDOR NAME BID NUMBER AND BID OPENING DATE CLEARLY NOTED ON OUTSIDE OF ENVELOPE. BIDS MAY NOT BE FAXED DIRECTLY TO THE UNIVERSITY IN RESPONSE TO THIS INVITATION FOR BID. BID WILL BE ACCEPTED EITHER SIGNED IN INK OR WITH ELECTRONIC OR FACSIMILE SIGNATURE. PLEASE ENCLOSE ONE EXTRA COPY OF SIGNED BID. Name (Type or Print): Title: Signature: Date:

- STANDARD TERMS AND CONDITIONS

| 1. | PREPARATION OF BIDS |  |  |
| --- | --- | --- | --- |
|  | 1.1 | Failure to examine any drawings, specifications, and instructions will be at bidder’s risk. |  |
|  | 1.2 | All prices and notations must be printed in ink or typewritten. No erasures permitted. Errors may be crossed out and corrections printed in ink or typewritten adjacent, and must be initialed in ink by person signing bid. |  |
|  | 1.3 | Brand Name References: Unless specified “No Substitute” any catalog brand name or manufacturer’s reference used in the bid invitation is descriptive only, not restrictive, and used to indicate the type and quality desired. If bidding on other than referenced specifications, the bid must show the manufacturer, brand or trade name, and other descriptions, and should include the manufacturer’s illustrations and complete descriptions of the product offered. The University reserves the right to determine whether a substitute offered is equivalent to and meets the standards of the item specified, and the University may require the bidder to supply additional descriptive material, samples, or demonstrators. The bidder guarantees that the product offered will meet or exceed the referenced product and/or specifications identified in this bid invitation. If the bidder takes no exception to the specifications, bidder will be required to furnish the product exactly as specified in the invitation. |  |
|  | 1.4 | Samples: Samples or demonstrators, when requested, must be furnished free of expense to the University. Samples not destroyed during reasonable examination will become property of the University unless bidder states otherwise. All demonstrators will be returned after reasonable examination. Each sample should be marked with the bidder’s name and address, bid number and item number. |  |
|  | 1.5 | Time of Performance: The number of calendar days in which delivery will be made after receipt of order shall be stated in the bid. |  |
| 2. | SUBMISSION OF BIDS |  |  |
|  | 2.1 | Bids, modifications or corrections thereof received after the closing time specified will not be considered. |  |
| 3. | ACCEPTANCE OF BIDS |  |  |
|  | 3.1 | The University reserves the right to accept or reject all or any part of a bid or any and all bids, to waive any informality, and to award the bid to best serve the interest of the University. |  |
|  | 3.2 | If a bidder fails to state the time within which a bid must be accepted, it is understood and agreed that the University shall have 60 days to accept. |  |
| 4. | ERROR IN BID |  |  |
|  | 4.1 | In case of error in the extension of prices in the bid, the unit price will govern. No bid shall be altered or amended after the specified time for opening bids. |  |

| 5. | AWARD |  |  |
| --- | --- | --- | --- |
|  | 5.1 | Contracts and purchases will be made or entered into with the lowest responsible bidder meeting specifications or on the basis of best value. |  |
|  | 5.2 | When more than one item is specified in the Invitation, the University reserves the right to determine the low bidder either on the basis of the individual items or on the basis of all items included in its Invitation for Bids, or as expressly stated in the Invitation for Bid. |  |
|  | 5.3 5.4 | A written purchase order or contract award mailed, or otherwise furnished, to the successful bidder within the time of acceptance specified in the Invitation for Bid results in a binding contract without further action by either party. The contract shall not be assignable by the vendor in whole or part without the written consent of the University. Vendors awarded contracts for commodities and/or services are encouraged to participate in our University Shopping Mall. This online catalog database is operated by a third party provider and will allow all University departments to place orders to multiple vendors online. A monthly maintenance fee, to be negotiated between each vendor and the shopping mall data base provider, is required. |  |
| 6. | DELIVERY |  |  |
|  | 6.1 | The Invitation for Bid will show the number of days to place a commodity in the University designated location under normal conditions. If the bidder cannot meet the stated delivery, alternate delivery schedules may become a factor in award. The University has the right to extend delivery if reasons appear valid. |  |
|  | 6.2 | Delivery shall be made during University work hours only, 8:00 a.m. to 4:30 p.m.., unless prior approval for other shipment has been obtained. |  |
|  | 6.3 | Packing memoranda shall be enclosed with each shipment. |  |
| 7. | ACCEPTANCE AND REJECTION |  |  |
|  | 7.1 | Final inspection and acceptance or rejection may be made at delivery destination, but all materials and workmanship shall be subject to inspection and test at all times and places, and when practicable. During manufacture, the right is reserved to reject articles which contain defective material and workmanship. Rejected material shall be removed by and at the expense of the contractor promptly after notification of rejection. Final inspection and acceptance or rejection of the materials or supplies shall be made as promptly as practicable, but failure to inspect and accept or reject materials or supplies shall not impose liability on the University thereof for such materials or supplies as are not in accordance with the specification. In the event necessity requires the use of materials or supplies not conforming to the specification, payment may be made with a proper reduction in price. |  |
| 8. | TAXES AND TRADE DISCOUNTS |  |  |
|  | 8.1 | Do not include state or local sales taxes in bid price. |  |
|  | 8.2 | Trade discounts should be deducted from the unit price and net price should be shown in the bid. |  |
| 9. | DEFAULT |  |  |
|  | 9.1 | Back orders, default in promised delivery, or failure to meet specifications authorize the University to cancel this contract to the defaulting contractor. The contractor must give written notice to the University of the reason and the expected delivery date. |  |
|  | 9.2 | Consistent failure to meet delivery without a valid reason may cause removal from the bidders list or suspension of eligibility for award. |  |
| 10. | WAIVER |  |  |
|  | 10.1 | The University reserves the right to waive any General Condition, Special Condition, or minor specification deviation when considered to be in the best interest of the University, so long as such waiver is not given so as to deliberately favor any single vendor and would have the same effect on all vendors. |  |
| 11. | CANCELLATION |  |  |
|  | 11.1 | Any contract or item award may be canceled for cause by either party by giving 30 days written notice of intent to cancel. Cause for the University to cancel shall include, but is not limited to, cost exceeding current market prices for comparable purchases; request for increase in prices during the period of the contract; or failure to perform to contract conditions. The contractor will be required to honor all purchase orders that were prepared and dated prior to the date of expiration or cancellation if received by the contractor within period of 30 days following the date of expiration or cancellation. Cancellation by the University does not relieve the Contractor of any liability arising out of a default or nonperformance. If a contract is canceled due to a request for increase in prices or failure to perform, that vendor shall be removed from the Qualified Bidders List for a period of 24 months. Cause for the vendor to cancel shall include, but is not limited to the item(s) being discontinued and unavailable from the manufacturer. |  |
| 12. | ADDENDA |  |  |
|  | 12.1 | Addenda modifying plans and/or specifications may be issued if time permits. No addendum will be issued within a period of three(3) working days prior to the time and date set for the bid opening. Should it become necessary to issue an addendum within the three-day period prior to the bid opening, the bid date will be reset giving bidders ample time to answer the addendum. |  |
|  | 12.2 | Only written addenda is part of the bid packet and should be considered. |  |
| 13. | ALTERNATE BIDS |  |  |
|  | 13.1 | Unless specifically requested alternate bids will not be considered. An alternate is considered to be a bid that does not comply with the minimum provisions of the specifications. |  |
| 14. | BID OPENINGS |  |  |
|  | 14.1 | Bid opening will be conducted open to the public. However, they will serve only to open, read and tabulate the bid price on each bid. No discussion will be entered into with any vendor as to the quality or provisions of the specifications and no award will be made either stated or implied at the bid opening. |  |
| 15. | DEBRIS REMOVAL |  |  |
|  | 15.1 | All debris must be removed from the University after installation of said equipment. |  |

ALL BIDS SUBMITTED SHALL BE IN COMPLIANCE WITH THE GENERAL CONDITIONS SET FORTH HEREIN.  THE BID PROCEDURES FOLLOWED BY THIS OFFICE WILL BE IN ACCORDANCE WITH THESE CONDITIONS.  THEREFORE, ALL VENDORS ARE URGED TO READ AND UNDERSTAND THESE CONDITIONS PRIOR TO SUBMITTING A BID.

- Please send 2 copies of your response to this bid.  The extra copy is needed for bid evaluation purposes.  Please do not send bid responses to different bids in the same envelopes.  Thank You!

Bid the following according to minimum specifications or functional equivalent.

| # Item | ## Description | Qty |  | Unit Price |  | Total Price |
| --- | --- | --- | --- | --- | --- | --- |

- AVL/GPS Tracking Systems for Transit Fleet per the

- attached specifications and pricing sheet.

FOB: University of Arkansas

Transit

155 Razorback Road

Fayetteville, AR Zip:  72701

Delivery ___________ after receipt of order.

NOTE:  If any portion of a vendor's contract terms and conditions are in conflict with those in this   Invitation for Bid or with the laws of the State of Arkansas, State of Arkansas laws shall govern.  Failure to conform to these standards may result in rejection of bid.

NOTE:  If offering equal, full description and complete specifications must accompany bid at the time

of bid opening.   Failure to do so may result in disqualification of bid.

Bids must be submitted on this official bid form to be considered.

Bid will be awarded on an all or none basis.

INFO: Adam Waddell at 479-575-6993 or ewaddel@uark.edu.

- General Campus Background for University of Arkansas

Established in 1871 as a land grant institution, the University of Arkansas is the only comprehensive doctoral degree granting institution in Arkansas. It is classified as a Carnegie Foundation Doctoral/Research University. The University campus includes 360 buildings on 357 acres. The University offers more than 230 undergraduate and graduate degrees in more than 150 fields of study in agricultural, food and life sciences, arts and sciences, business, education, engineering, architecture and law. As of Fall 2010, student enrollment was 21,405 (undergraduate 17,247, professional 388, graduate 3770, and non-degree 453; full-time 15,001 and part-time 2,246). The faculty count was 940, and staff count was 2829. The University is the flagship campus for the University of Arkansas System.

Ethical Standards

“It shall be a breach of ethical standards for a person to be retained, or to retain a person, to solicit or secure a state contract upon an agreement or understanding for a commission, percentage, brokerage, or contingent fee, except for retention of bona fide employees or bona fide established commercial selling agencies maintained by the contractor for the purpose of securing business”

Technology Access

The Vendor expressly acknowledges that state funds may not be expended in connection with the purchase of information technology unless that system meets certain statutory requirements, in accordance with State of Arkansas technology policy standards relating to accessibility by persons with visual impairments.

Accordingly, the Vendor represents and warrants to University of Arkansas, Fayetteville that the technology provided to University of Arkansas for purchase is capable, either by virtue of features included within the technology or because it is readily adaptable by use with other technology, of: (1) providing equivalent access for effective use by both visual and nonvisual means; (2) presenting information, including prompts used for interactive communications, in formats intended for nonvisual use; and (3) being integrated into networks for obtaining, retrieving, and disseminating information used by individuals who are not blind or visually impaired.

For purpose of this paragraph, the phrase “equivalent access” means a substantially similar ability to communicate with or make use of the technology, either directly by features incorporated within the technology or by other reasonable means such as assisting devices or services which would constitute reasonable accommodations under the American with Disabilities Act or similar state or federal laws.  Examples of methods by which equivalent access may be provided include, but are not limited to, keyboard alternatives to mouse commands and other means of navigating graphical displays, and customizable display appearance.

If requested, the Vendor must provide a detailed plan for making this purchase accessible and/or a validation of concept demonstration.

University of Arkansas Logo / Trademark Licensing:

Merchandise that carries a University logo or trademark must be purchased from vendors that are licensed through the Collegiate Licensing Corporation. Therefore, bidders are required to be currently licensed to carry the University of Arkansas logo in order to be eligible to submit bids for those requests that involve the University of Arkansas logo or trademark.  Only those offers submitted by currently licensed bidders will be considered for award.

Dun and Bradstreet DUNS Number

We highly encourage all University of Arkansas contract vendors to use a Dun and Bradstreet number (DUNS Number). The D & B DUNS Number is a unique nine digit identification sequence, which provides unique identifiers of single business entities, while linking corporate family structures together.  If your business has not registered, you may do so at:

http://www.dnb.com/

If available, please provide your Dun and Bradstreet DUNS Number below:

_______________________________________

Bid Specifications for a Public Transit Automatic Vehicle Location (AVL)/ Global Positioning Systems (GPS) with Asset and Operational Tracking, Integrated Electronic Vehicle Inspection Reporting, and Passenger Counting/Tracking.

Section I

AVL/GPS Hardware and Push Button Passenger Counter (Zonar V2 for non-heavy duty vehicles or V2J for heavy duty vehicles or approved equal) - 40 vehicles to be equipped with hardware

| GPS Hardware |  | Quantity |  |
| --- | --- | --- | --- |
|  | Heavy Duty Vehicles | 21* |  |
|  | Non-Heavy Duty Vehicles | 19 |  |
| Passenger Counter | * Only heavy duty vehicles | 21 |  |
| Training** | Installation and System Usage | 3 days |  |

**Training for installation is to train department maintenance staff. Installation will be completed by department, not vendor. Pricing for installation should not be included.

AVL/GPS solution must include hardware, firmware, software, training and support. There must be one point of contact for support of hardware, firmware, software, and training. Product delivery timeframe must be included with all bids.

- Hardware must have a minimum of three years of warranty.

- Installation training will include all system components and system usage.

- The AVL/GPS system must integrate with Dolphin-Fleet Management Software from Dolphin SoftSense Inc. and ParaPlan Pro Paratransit Scheduling Software from Engraph Software.

- The AVL/GPS system shall support high definition GPS that captures data in four dimensions – latitude, longitude, time, and odometer.

- The device shall support UDP and TCP internet communication protocols.

- Each device shall have a separate, unique/private IP address for data security and unit identification.

- The system shall be able to accept a push-button passenger counter for Public Transit applications. The counter must be able to accommodate at minimum four (4) individual identifiable fields. The counter shall be able to show the ongoing tally of the day’s passengers with up to four digits.

- The AVL/GPS system shall have J-Bus interfacing capabilities for vehicles defined as being heavy-duty. The J-Bus interface shall at a minimum be capable of reading vehicle systems fault codes, mileage, fuel data, and engine hours from the on-board ECM. The data collected shall be spatially encoded, and able to be transmitted with specific GPS positional data. The system shall have on-board memory that can be used for recording performance data from the engine during a trip. The firmware for the device must be field/remotely updateable. The system must include a web based application that decodes the fault codes into human readable form.

- The AVL/GPS system shall provide a platform for customizable alerts including, but not limited to: activity alert, battery low-voltage alert, GPS Zone alert, idle alert, input alert, inspection alert, panic alert, speed alert (max speed), and J-Bus alerts.

- Section II

Data Transmission, Logging, Storage, and Access (Zonar Ground Traffic Control or approved equal) - to support 40 GPS/AVL units

| Data Agreement |  | Annual | Seasonal |
| --- | --- | --- | --- |
|  | Minimum 15 second polling | 5 | 16 |
|  | Minimum 30 second polling | 5 | 16 |
|  | Economical Intelligent Logging | 8 | 11 |

- Must offer à la carte pricing for data rates listed above with year-to-year and multi-year in-advance options (ex. 2 year, 3 year, etc)

- Must offer à la carte pricing for individual module options (ex. GPS, Engine Diagnostics, Vehicle Inspections, Passenger Counting, and Passenger Tracking)  with year-to year and multiyear in-advance options (ex. 2 year, 3 year, etc.)

- Pricing must be guaranteed for multi-year options.

- The data agreement must be scalable to the usage required (ex. seasonal vs. annual).

- Annual Usage is 12 months of full activity. Seasonal Usage is approximately 8 months of full activity with 4 months of minor activity.

- The data logging shall be provided using an “intelligent logging” algorithm that will provide high definition data and minimize cellular communication needs. “Intelligent Logging” is location and event based data collection with batch reporting rather than just time based data collection.

- User defined, set or minimum, time data polling must be available for.

- The solution must allow open access for third party integration with standard XML data exchange. Must integrate with Dolphin-Fleet Management Software from Dolphin SoftSense Inc. and ParaPlan Pro Paratransit Scheduling Software from Engraph Software.

- The provider shall store and maintain all data on provider owned servers with guaranteed redundancy to eliminate the possibility of data loss.

- The Provider’s Data Transmission, Logging, Storage and Access Agreement must include: pre-paid cellular transmission, unlimited user/ site access to the web based application, unlimited annual storage, feature and map updates, and 24/7 Customer Support.

- All data collected shall be downloaded via cellular GSM communication and be available via a secure web-based application.

- Must allow real-time access to Operational and Maintenance Data (ex. Inspection Reports, Passenger Counts, Engine Fault Codes, Engine Idling Reporting, Vehicle Locations, and Mileages/ Hours Run)

Section III

Electronic Vehicle Inspection Report (Zonar EVIR or approved equal) - 36 vehicles to be equipped

The electronic vehicle inspection system is for the logging and reporting of vehicle faults for commercial and non-commercial vehicles.

- The hardware must have a minimum of five years of warranty.

- Installation and system usage training will be included in Section I pricing.

- The Electronic Vehicle Inspection System must integrate with Dolphin-Fleet Management Software from Dolphin SoftSense Inc. and ParaPlan Pro Paratransit Scheduling Software from Engraph Software.

- The Electronic Vehicle Inspection Report system must integrate with the provider’s AVL/GPS-GSM device and communicate through that system.

- The Electronic Vehicle Inspection System shall be a Radio Frequency Identification (RFID) based system that must be capable of verifying visual Pre-Trip, Post Trip, PM , and end-user customizable inspections for commercial and non-commercial vehicles. The system must be able to accommodate up to six (6) different inspection types.

- The system must be able to meet all Department of Transportation (DOT) mandated pre- and post-trip inspection regulations (49 CFR 396.11 -.13) for commercial vehicles, as well as OSHA and MSHA equipment inspection regulations.

- The system must require the vehicle operator to use a handheld RFID scanner that must be held within two (2) inches of the RFID tag, requiring the operator to be in the location of the specific tag and the components associated with it.

- The system must be able to provide up to eleven (11) RFID location or zone tags and cover up to ten (10) components per location/ zone tag with being able to log up to ten (10) conditions per component.

- All system events must be time, date, and location stamped and be communicated through the AVL/GPS-GSM device. The system data must be available from a secure web based application.

Section IV

Passenger Tracking (Zonar ZPass or approved equal) - 6 units, RFID cards (per100 quantity pricing)

The passenger tracking system is to be used for identifying specific passengers and logging their activities on paratransit vehicles.

- The hardware must have a minimum of three years of warranty.

- Installation and system usage training will be included in Section I pricing.

- The passenger tracking system must integrate with ParaPlan Pro Paratransit Scheduling Software from Engraph Software.

- The passenger tracking system must integrate with the provider’s AVL/GPS-GSM device and communicate through that system.

- The passenger tracking system will be RFID based.

- The system will have passenger specific RFID cards that can be printed with end-user designed logos and passenger information.

- The system will have a vehicle mounted RFID scanner that will be able to read the passenger cards from up to twenty (20) inches away. The scanner must have a low-power sleep mode.

- The system will time, date, location, and mileage stamp the passenger’s entry and exit from the paratransit vehicle.

- The system will transmit the ridership data through the AVL/GPS-GSM device. The system data will be accessed through a secure web-based application.

| PRICING SHEET |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BID #449172 |  |  |  |  |  |  |
| SECTION I |  |  |  |  |  |  |
| AVL/GPS Hardware and Push Button Passenger Counter (40 vehicles as follows): |  |  |  |  |  |  |
| Description |  | Quantity |  | Unit Price |  | Total Price |
| GPS Hardware |  |  |  |  |  |  |
| Heavy Duty Vehicles |  | 21* |  | $ |  | $ |
| Non-Heavy Duty Vehicles |  | 19 |  | $ |  | $ |
| PASSENGER COUNTER |  |  |  |  |  |  |
| * Only Heavy Duty Vehicles |  | 21 |  | $ |  | $ |
| Training: |  |  |  |  |  |  |
| Installation and System Usage |  | 3 Days |  | $ |  | $ |
| SECTION II |  |  |  |  |  |  |
| DATA TRANSMISSION AND STORAGE AGREEMENT |  |  |  |  |  |  |
| Base GPS |  |  |  |  |  |  |
| Intelligent Logging: 19-units only for non heavy-duty vehicles |  |  |  |  |  |  |
|  | Annual Plan |  |  |  |  |  |
|  | 8 Units | 1YR |  | 2YR |  | 3YR |
|  |  | $ |  | $ |  | $ |
|  | Seasonal Plan |  |  |  |  |  |
|  | 11 Units | 1YR |  | 2YR |  | 3YR |
|  |  | $ |  | $ |  | $ |
| 15 second Polling: 21 Units total for heavy duty vehicles* |  |  |  |  |  |  |
|  | Annual Plan |  |  |  |  |  |
|  | 5 Units | 1YR |  | 2YR |  | 3YR |
|  |  | $ |  | $ |  | $ |
|  | Seasonal Plan |  |  |  |  |  |
|  | 16 Units | 1YR |  | 2YR |  | 3YR |
|  |  | $ |  | $ |  | $ |
| 30 second Polling: 21 Units total* |  |  |  |  |  |  |
|  | Annual Plan |  |  |  |  |  |
|  | 5 Units | 1YR |  | 2YR |  | 3YR |
|  |  | $ |  | $ |  | $ |
|  | Seasonal Plan |  |  |  |  |  |
|  | 16 Units | 1YR |  | 2YR |  | 3YR |
|  |  | $ |  | $ |  | $ |
| *Department will choose between 15 & 30 plan for 21 units |  |  |  |  |  |  |
| Additional Modules* |  | 1YR |  | 2YR |  | 3YR |
| Engine Diagnostics (Only Heavy-Duty) |  | $ |  | $ |  | $ |
| Vehicle Inspections* |  | $ |  | $ |  | $ |
| Passenger Counting |  | $ |  | $ |  | $ |
| Passenger Tracking** |  | $ |  | $ |  | $ |
| *Additional Modules can be added to base GPS plan as needed |  |  |  |  |  |  |
| SECTION III ELECTRONIC VEHICLE INSPECTION REPORT |  |  |  |  |  |  |
| Installation and system usage training will be included in Section 1 pricing. |  |  |  |  |  |  |
| Description |  | Quantity |  | Unit Price |  | Total Price |
| Vehicle Inspection Units |  | 36 |  | $ |  | $ |
| SECTION IV PASSENGER TRACKING |  |  |  |  |  |  |
| Installation and system usage training will be included in Section 1 pricing. |  |  |  |  |  |  |
| Description |  | Quantity |  | Unit Price |  | Total Price |
| Passenger Tracking Units |  | 6 |  | $ |  | $ |
| RFID Cards |  | Per 100 |  | $ |  | $ |

Equal Opportunity Policy Disclaimer

ATTENTION BIDDERS

Act 2157 of 2005 of the Arkansas Regular Legislative Session requires that any business or person bidding, who is responding to a formal bid request, Request for Qualifications or qualifications, or negotiating a contract with the state for professional or consultant services, submit their most current equal opportunity policy (EO Policy).

Although bidders are encouraged to have a viable equal opportunity policy, a written response stating the bidder does not have such an EO Policy will be considered that bidder’s response and will be acceptable in complying with the requirement of Act 2157.

Submitting the EO Policy is a one-time requirement.  The University of Arkansas, Fayetteville Procurement Department, will maintain a database of policies or written responses received from all bidders.

Note: This is a mandatory requirement when submitting an offer as described above.

Please complete and return this form with your bid response.

Should you have any questions regarding this requirement, please contact this office by calling (479) 575-2551.

Sincerely,

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

University of Arkansas

To be completed by business or person submitting response: (check appropriate box)

____   EO Policy Attached

____   EO Policy previously submitted to University of Arkansas-Fayetteville

Purchasing Department

____   EO Policy is not available from business or person

Company Name

Or Individual: __________________________________________________________

Title:  _____________________________________Date:  ______________________

Signature:  ____________________________________________________________

University of Arkansas

Fayetteville, Arkansas

Procurement Department

321 Administration

Fayetteville, AR  72701

Tel:  479-575-2551

Fax:  479-575-4158

Act 157 of 2007 of the Arkansas Regular Legislative Session requires that any business or person responding to a Request for Proposal (RFP) for professional services, technical and general services or any category of construction in which the total dollar value is $25,000 or greater certify, prior to the award of the contract, that they do not employ or contract with any illegal immigrants.  Bidders are to certify online at:

http://www.dfa.arkansas.gov/offices/procurement/Pages/forms.aspx

This is a mandatory requirement.  Failure to certify may result in rejection of your proposal, and no award will be made to a vendor who has not so certified.  If you have any questions, please contact the Procurement Department.  Thank you.

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

************************************************************************************************************

TO BE COMPLETED BY BUSINESS OR PERSON SUBMITTING RESPONSE:

Please check the appropriate statement below:

_______	We have certified on-line that we do not employ or contract with any

illegal immigrants

Date on-line certification completed:  ___________________________________

_______	We have NOT certified on-line at this time, and we understand that

no contract can awarded to our firm until we have done so.

Reason for non-certification:  _________________________________________

| Name of Company |  |
| --- | --- |
| Mailing Address |  |
| City, State & Zip |  |
| Signature |  |
| Name & Title (printed or typed) |  |
| Date |  |